Agenda

| Lecture Title | Content Overview | Time | Faculty |
| --- | --- | --- | --- |
| Introduction to Urodynamic Testing | - Introductions and course overview - Urodynamic studies (uroflowmetry, multichannel urodynamic testing, videourodynamic techniques) - Physical environment of the Urodynamic Testing Suite (hardware and software, support surfaces for patients undergoing testing, additional ergonomic considerations) - Safety in urodynamic testing (infection control-prevention, radiation safety, additional safety issues) - Indications and Preparation for Multichannel urodynamic testing) | 60 minutes | M. Gray |
| Lower urinary tract function and dysfunction | - Anatomy of the lower urinary tract (LUT): female and male anatomy - Essentials of LUT function in healthy individual (filling/storage versus evacuation/emptying of bladder vesicle) - Essential elements of continence (neuromuscular control, characteristics of smooth and skeletal of lower urinary tact including pelvic floor muscles and prostate, neurotransmitters in the LUT) - Wein urodynamic classification system for lower urinary tract dysfunction (failure to store because of the bladder or outlet, failure to empty because of the bladder or outlet) | 75 minutes | M. Gray |
| Physical aspects of lower urinary tract dysfunction | - Measuring urodynamic pressures (Pves, Pabd, Pdet, Pura) and transduce technologies (water-charged dome transducers, air-charged transducers, catheter mounted transducers, fiberoptic transducers) - Measuring urinary flow (Q) - Measuring pelvic floor electromyography (EMG, percutaneous versus transcutaneous) | 45 minutes | M. Gray |
| Typical Multichannel Urodynamic Study | - Computer preparation - Pre-study non-intubated uroflowmetry - Preparation of disposable supplies - Zeroing transducers with reference to zero and establishing reference level) - Filling cystometrogram (includes urethral pressure profilometry and abdominal leak point pressure testing) - Voiding pressure flow studies | 90 minutes | M. Gray |
| Interpretation of Filling CMG | - Cystometric capacity - Compliance of bladder wall - Competence of urethral sphincter mechanism - Sensations of bladder filling - Detrusor response to bladder filling/storage | 60 minutes | M. Gray |
| Interpretation of Voiding Pressure Flow study | - Normal LUT emptying/evacuation and differences based on female versus male pelvic anatomy - Failure to empty because of the outlet (bladder outlet obstruction) - Failure to empty because of the bladder (detrusor muscle) | 30 minutes | M. Gray |
| Hands on urodynamic testing | 2 hours with stations for Prometheus and Laborie systems | 120 minutes NO CH | Faculty TBD |